# Ørsted - East Coast Operational Assets # Notice to Mariners Period of Notice: July 2021 Version: Draft 1

Table of Contents

1	Introduction	3

1.1	Subsea Cables	3

1.2	Wind Farm Positional Data	4

2	Key Contacts	4

3	Notice to Mariners Summary:	5

4	Race Bank – Notice to Mariners	6

4.1	Lighting and Marking Status	6

4.2	Other Operations	6

4.2.1	Piggyback rectification work	6

4.2.2	Wave Buoy service	7

4.2.3	Cable Bandage Solutions	8

5	Westermost Rough – Notice to Mariners	9

5.1	Lighting and Marking Status	9

5.2	Other Operations	9

5.2.1	Blade Inspection	9

6	Lincs – Notice to Mariners	10

6.1	Lighting and Marking Status	10

6.2	Other Operations	10

6.2.1	Blade repair	10

7	Gunfleet Sands – Notice to Mariners	11

7.1	Lighting and Marking Status	11

7.2	Other Operations	11

7.2.1	Seabed survey	11

7.2.2	Internal corrosion protection	12

7.2.3	Cable exposure	14

8	Hornsea One – Notice to Mariners	15

8.1	Lighting and Marking Status	15

8.2	Other Operation	15

# Introduction

Ørsted is an offshore wind farm owner and operator with ten operational wind farms in UK waters. Of these ten, the following offshore wind farms are located off the East Coast of England:

- Gunfleet Sands

- Westermost Rough

- Race Bank

- Lincs

- Hornsea One

The purpose of this monthly Notice to Mariners (NtM) is to ensure that mariners are aware of any non-routine operations across the East Coast assets that could pose a risk to other sea users. Safety is paramount to Ørsted and this notice should assist in ensuring that both mariners and the Ørsted operational team can operate safely offshore. This NtM will provide:

- A regular, clear and consistent overview of non-routine operations

- Updates relating to lighting and marking

- Key contact details

- Access to detailed site information and figures

- Clarity on when Safety Zones and recommended safe separation distances are in force or requested

This Notice to Mariners will not provide:

- Information relating to routine maintenance carried out by Crew Transfer Vessels (CTV) or Service Operation Vessels (SOV).

- Any information relating to export cables

- Any information relating to offshore wind farms currently in development, construction or not operated by Ørsted

## Subsea Cables

Subsea cables are installed across each offshore wind farm and are marked on the KIS ORCA charts referenced in Section 1.2. Please note the following advice from NP 100 The Mariners Handbook “Every care should be taken to avoid anchoring, trawling, fishing, dredging, drilling, or carrying out any other activity in the vicinity of cables which might damage them.” This warning is repeated on all admiralty charts.

## Wind Farm Positional Data

KIS ORCA Awareness Charts (including the layout and coordinates) and Fishing Plotter Files of the offshore assets referenced in this NtM can be found via the KIS ORCA website: http://www.kis-orca.eu/downloads#.XWUTQUxFwjZ. Should mariners require further information or any data in a format that can be used in a plotter or other device, please contact the Company Fisheries Liaison Officer, listed in Section 2 below.

# Key Contacts

For further information on any of the activities listed within this notice, please use the contact details listed below.

| Site | Ørsted Mailbox/ Offshore Coordination | Fisheries Industry Representative |
| --- | --- | --- |
| Race Bank | Phone: 07826 943808 Email: rowoffshorec@orsted.co.uk | Ady Woods Phone: 07468 898948 Email: firwoods@hotmail.com |
| Westermost Rough | Phone: 07867 674941 Email: wmroffshorec@orsted.co.uk | Guy Pasco Phone: 07880 362082 Email: guy@seascopefisheries.co.uk |
| Lincs | Phone: 07766443319 Email: lincsoffshorec@orsted.co.uk | Ady Woods Phone: 07468 898948 Email: firwoods@hotmail.com |
| Gunfleet Sands |  | Merlin Jackson Phone: 07989 520484 Email: merlinjackson@btinternet.com |
| Hornsea One | Phone: 07775005465 Email: HOWoffshoreC@orsted.co.uk | Nick Garside Phone: 07538 827013 Email: nick.garside@live.co.uk |

Company Fisheries Liaison Officer

The Ørsted Company Fisheries Liaison Officer can be contacted using the details below:

Courtney French

Email: CONFR@Orsted.co.uk

# Notice to Mariners Summary:

| Site | Lighting and Marking Status | Survey | Jack-Up Vessel | Other Works |
| --- | --- | --- | --- | --- |
| Race Bank | OK | None | None | Piggyback campaign, Wave buoy service, Cable Bandage Solutions** |
| Westermost Rough | OK | None | None | Blade repair*** |
| Lincs | OK | None | None | Blade repair*** |
| Gunfleet Sands | OK | Yes | None | Corrosion campaign° |
| Hornsea One | A13 & P01 Marine Lanterns not working | None | None | Wave buoy service |

* Formal 500m safety zone in place

° Licensable activity

** 500m safety distance requested

*** 200m safety distance requested

# Race Bank – Notice to Mariners

## Lighting and Marking Status

The lighting and/ or navigational warning systems are currently operational. No planned outages.

## Other Operations

### Piggyback rectification work

On the 10th June the Eden Rose will be on site to conduct some WTG internal repairs. The scope is expected to last until mid-August and will be across the full wind farm.

Vessel information

| General Information |  | Vessel Picture |
| --- | --- | --- |
| Name | Eden Rose |  |
| Flag | UK |  |
| Year Built | 2012 |  |
| MMSI Number | 235092732 |  |
| Call Sign | 2FNN5 |  |
| Vessel Contact Details |  |  |
| Bridge | Master (TBC) |  |
| Party Chief | 07852125057 |  |
| Email | edenrose@tidal-transit.com |  |

### Wave Buoy service

We will undertake an offshore service of a Measurement Buoy. Mariners should note that the service of the Measurement Buoy is scheduled for 21st to 24th July (weather permitting) and service works should last 6 hours. An example image of a Measurement Buoy is shown in the figure below as well as the vessel details.

Vessel information

| General Information |  | Vessel Picture |
| --- | --- | --- |
| Name | Voe Vanguard |  |
| Flag | UK |  |
| Year Built | 2017 |  |
| MMSI Number | 232008636 |  |
| Call Sign | MBEN9 |  |
| Vessel Contact Details |  |  |
| Bridge | +44 7766 798 48 |  |
| Party Chief |  |  |
| Email | voevanguard@deltamarine.scot |  |

Location - ROW: 53° 14.320’ N, 000° 54.007’ E

MEASUREMENT BUOY

### 4.2.3	Cable Bandage Solutions

Start date: 7th July 2021

Duration of work scope: Expected 6 weeks

Description of work: Orsted will be performing diving works on cable ends, repairing the cable protection system at a number of selected WTG positions on ROW. During nights ROV inpections will be performed on all WTG positions

Is this a licensed activity: Yes – Consent has been obtained with the MMO

Safety zone required. During dive operations a 500m safetyzone shall apply (approx 2 x 1 hrs per day)

The Eden Rose will support the works as CTV between Piggyback Campaign.

Vessel information

| Name | HBC Achiever |  |
| --- | --- | --- |
| Flag | DK |  |
| Year Built | 2014 |  |
| MMSI Number | 219305000 |  |
| Call Sign | OWMH2 |  |
| Vessel Contact Details |  |  |
| Bridge | +45 28 56 47 99 / +45 82 13 10 43 |  |
| Party Chief |  |  |
| Email | achieverbridge@hbc-tec.dk |  |

| WTG ID | Degrees, Decimal Minutes |  |
| --- | --- | --- |
|  | Easting (ETRS89 UTM31N) | Northing (ETRS89 UTM31N) |
| A02 | 351700,00 | 5910926,00 |
| A03 | 351675,00 | 5910116,00 |
| A04 | 351586,00 | 5909271,00 |
| A05 | 351521,00 | 5908361,00 |
| B03 | 352310,00 | 5909221,00 |
| B06 | 351967,00 | 5906765,00 |
| C04 | 353341,00 | 5909222,00 |
| D08 | 353590,00 | 5905297,00 |
| E07 | 354466,00 | 5903852,00 |
| F07 | 354946,00 | 5901636,00 |
| G05 | 356151,00 | 5902731,00 |
| G06 | 355863,00 | 5901896,00 |
| H06 | 356829,00 | 5901396,00 |
| Z01 | 353944,00 | 5907400,00 |

# Westermost Rough – Notice to Mariners

## Lighting and Marking Status

The lighting and/ or navigational warning systems are currently operational. No planned outages.

## Other Operations

### Blade Inspection

On the 8th July, we will be carrying out a blade Inspection and collect a sample from E03 shown below. A 200m exclusion zone will be required for the duration of the works, it is anticipated at being completed by the 10th July. One of the site CTV’s will be used for this work.

# Lincs – Notice to Mariners

## Lighting and Marking Status

The lighting and/ or navigational warning systems are currently operational. No planned outages.

## Other Operations

### Blade repair

On the 10th July, we will be carrying out a blade repair on LS54 shown below. A 200m exclusion zone will be required for the duration of the works, it is anticipated at being completed by the 13th July. One of the site CTV’s will be used for this work.

# Gunfleet Sands – Notice to Mariners

## Lighting and Marking Status

The lighting and/ or navigational warning systems are currently operational. No planned outages.

## Other Operations

### Seabed survey

On the 28th June the vessel Spectrum Nyquist will be conducting a 300m x 300m survey around locations C05 & D04 identified below.

Vessel Information

| General Information |  | Vessel Picture |
| --- | --- | --- |
| Name | Spectrum Nyquist |  |
| Flag | UK |  |
| Year Built | 2010 |  |
| MMSI Number | 232031312 |  |
| Call Sign | MIIG4 |  |
| Vessel Contact Details |  |  |
| Bridge | +44 (0)7803 031728 Tt |  |
| Party Chief | TBD |  |
| Email | +44 (0)7803 031728 |  |

| WTG ID | Degrees, Decimal Minutes |  |
| --- | --- | --- |
|  | Latitude | Longitude |
| C05 | 51°44.334’N | 01°14.267’E |
| D04 | 51°43.876’N | 01°13.790’E |

### Internal corrosion protection

We will conduct a corrosion protection campaign around the 12th July, all locations will be visited, and the campaign is anticipated to last around 6 weeks.

Vessel Information

| General Information |  | Vessel Picture |
| --- | --- | --- |
| Name | CWind Adventure |  |
| Flag | UK |  |
| Year Built | 2013 |  |
| MMSI Number | 235097139 |  |
| Call Sign | 2GGG9 |  |
| Vessel Contact Details |  |  |
| Bridge | 07508452177 |  |
| Party Chief |  |  |
| Email | Adventure@cwind.global |  |

| General Information |  | Vessel Picture |
| --- | --- | --- |
| Name | CWind Challenger |  |
| Flag | UK |  |
| Year Built | 2013 |  |
| MMSI Number | 235099967 |  |
| Call Sign | 2GRU4 |  |
| Vessel Contact Details |  |  |
| Bridge | 07944639671 |  |
| Party Chief |  |  |
| Email | challenger@cwind.global |  |

### Cable exposure

There are subsea cables currently exposed as shown on the below chart and coordinates.

# Hornsea One – Notice to Mariners

## Lighting and Marking Status

The lighting and/ or navigational warning systems are currently operational. No planned outages.

## Other Operation

We will undertake an offshore service of a Measurement Buoy. Mariners should note that the service of the Measurement Buoy is scheduled for 21st to 24th July (weather permitting) and service works should last 6 hours. An example image of a Measurement Buoy is shown in the figure below as well as the vessel details.

Vessel information

| General Information |  | Vessel Picture |
| --- | --- | --- |
| Name | Voe Vanguard |  |
| Flag | UK |  |
| Year Built | 2017 |  |
| MMSI Number | 232008636 |  |
| Call Sign | MBEN9 |  |
| Vessel Contact Details |  |  |
| Bridge | +44 7766 798 48 |  |
| Party Chief |  |  |
| Email | voevanguard@deltamarine.scot |  |

Location - HOW1: 53° 50.203′ N, 001° 49.253′ E

MEASUREMENT BUOY